## Slide 1: Components of quantum-optical systems
Lecture 5 in Quantum communications (continuing education) course, 17 Nov 2020
Transmission channels
“Processing” elements
Photon detectors
Photon sources

## Slide 2: Attenuated laser source
Attenuator
0 1 2 3
1
0.1
0.01
0.001
0 1 2 3
1
0.1
0.01
0.001
S. J. van Enk, C. A. Fuchs, arXiv:quant-ph/0111157
G
Laser diode

## Slide 3: Spontaneous parametric down-conversion
Heralded photon source
Pump
laser
Heralding detector
P. G. Kwiat et al., Phys. Rev. Lett. 75, 4337 (1995)
Image reprinted from: Wikipedia
Energy conservation:
Momentum conservation:
(BBO, etc.)
Type II

## Slide 4: Transmission in free space
Vacuum: Gaussian optics
Atmosphere: loss, turbulence
Images reprinted from: https://demonstrations.wolfram.com/GaussianBeamPropagationThroughTwoLenses/; Wikipedia; J.-P. Bourgoin et al., New J. Phys. 15, 023006 (2013); R. Ursin et al., Nat. Phys. 3, 481 (2007)

## Slide 5: Transmission in optical fiber
Single-mode fiber
Images reprinted from: G. Keiser et al., J. Biomed. Opt. 19, 080902 (2014); ViaLite
8 μm diameter core
n2 > n1
125 μm diameter cladding
fused quartz, n1 = 1.45
≈ 22°

## Slide 6: Polarizers
Laser
Images reprinted from: Thorlabs; J. L. Pezzaniti, R. A. Chipman, Appl. Opt. 33, 1916 (1994)
Birefringent polarizing beamsplitter
Wollaston prism
Polarizing beamsplitter cube

## Slide 7: Beamsplitters
50:50
10:90
1:99
Images reprinted from: Thorlabs; Go!Foton
Fiber-optic fused beamsplitter (or coupler)

## Slide 8: Attenuators
Images reprinted from: Thorlabs; OZ Optics
Absorbing or partially reflecting coated glass
Variable
2–60 dB

## Slide 9: Wavelength filters
Image reprinted from: Newport
Colored glass

## Slide 10: Wavelength filters
Images reprinted from: Thorlabs; Wikipedia; F. Seng et al., Appl. Opt. 55, 7179 (2016)
Interference filter
Fiber Bragg grating

## Slide 11: Polarization controller (slow)
Image reprinted from: Thorlabs

## Slide 12: Polarization modulator (fast)
Pockels cell
E.g., lithium niobate

## Slide 13: Phase modulator
Images reprinted from: A. E.-N. A. Mohamed et al., Int. J. Multidiscip. Sci. Eng. 2, 13 (2011); iXblue Photonics

## Slide 14: Intensity modulator
Images reprinted from: Optical Communication Technology, P. Pinho, ed., IntechOpen (2017); Thorlabs
Mach-Zehnder interferometer

## Slide 15: Optical power meters
Thermal
> 10 μW
Photodiode
> 0.1 nW
t°
I

## Slide 16: Single-photon detectors
Photomultiplier tube
Photocathode
Dynodes
e
Image reprinted from: http://www.frankswebspace.org.uk/ScienceAndMaths/physics/physicsGCE/D1-5.htm
Photon energy

Need a gain mechanism

## Slide 17: Single-photon avalanche photodiode
+Vbias > Vbr
Output
Images reprinted from: https://www.photonicsonline.com/doc/avalanche-photodiodes-theory-and-applications-0001; S. Cova et al., J. Mod. Opt. 51, 1267 (2004)
Ith
I
V
Linear mode
Geiger mode
Single photon
Breakdown
voltage Vbr
Quenching

## Slide 18: Superconducting single-photon detectors
Transition-edge sensor
Superconducting nanowire
Al lead
W sensor
10 µm
Images reprinted from: R. Sobolewski et al., IEEE Trans. Appl. Supercond. 13, 1151 (2003)
Images reprinted from: B. Cabrera et al., Appl. Phys. Lett. 73, 735 (1998); A.J. Miller et al., Appl. Phys. Lett. 83, 791 (2003)

## Slide 19: Cooling requirements
Photomultiplier: room temperature Avalanche photodiode: −50 °C
Thermoelectric cooling
Superconducting nanowire: 4 K Transition-edge sensor: 100 mK
Images reprinted from: Kryotherm; S. Sauge et al., Opt. Express 19, 23590 (2011); Advanced Research Systems; University of Cape Town
5 mm
0

## Slide 20: Assembled fiber optics
Quantum key distribution unit Alice (ID Quantique Clavis2)
100 mm
0

## Slide 21: Assembled free-space optics
50:50
PBS
PBS
APD,
+45°
l/2
22.5°
V
-45°
H
J. G. Rarity, P. C. M. Owens, P. R. Tapster, J. Mod. Opt. 41, 2435 (1994)
Bob’s polarization analyzer with single-photon detectors

## Slide 22: Assembled free-space optics
50:50
PBS
PBS
APD,
+45°
l/2
22.5°
V
-45°
H
J. G. Rarity, P. C. M. Owens, P. R. Tapster, J. Mod. Opt. 41, 2435 (1994)
Bob’s polarization analyzer with single-photon detectors
10 mm
0

## Slide 23: Emerging: integrated optics
Quantum key distribution system
P. Sibson et al., Nat. Commun. 8, 13984 (2017)
A. W. Elshaari et al., Nat. Photonics 14, 285 (2020)
2 mm